## Plate 1 - Sheet1
Software Version | 3.12.08
Experiment File Path: | C:\Users\Opentrons\Desktop\Sofia\260824_dcpip_tcep_test_0_1_5_10mM.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2026-08-24
Time | 13:11
Reader Type: | Synergy H1
Reader Serial Number: | 22041210
Reading Type | Reader
Procedure Details
Plate Type | Corning 384 well black clear bottom
Well Selection | Runtime
Eject plate on completion
Read | 600nm
Absorbance Endpoint
Full Plate
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | scan
Absorbance Spectrum
Full Plate
Start: 300 nm, Stop: 700 nm, Step: 10 nm
Calibrate Before Read
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Results
Actual Temperature: | 26.4
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | [24 empty] | 600nm:600
| B | [24 empty] | 600nm:600
| C | [24 empty] | 600nm:600
| D | 1: 1.447; 2: 1.466; 3: 1.466; 4: 0.593; 5: 0.583; 6: 0.618; 7: 0.112; 8: 0.11; 9: 0.107; 10: 0.293; 11: 0.284; 12: 0.339 | 600nm:600
| E | 1: 2.116; 2: 2.191; 3: 2.053; 4: 1.069; 5: 0.959; 6: 1.015; 7: 0.07; 8: 0.065; 9: 0.068; 10: 0.239; 11: 0.208; 12: 0.186 | 600nm:600
| F | 1: 1.899; 2: 1.772; 3: 1.763; 4: 1.051; 5: 1.077; 6: 1.217; 7: 0.101; 8: 0.101; 9: 0.107; 10: 0.285; 11: 0.311; 12: 0.378 | 600nm:600
| G | [24 empty] | 600nm:600
| H | [24 empty] | 600nm:600
| I | [24 empty] | 600nm:600
| J | [24 empty] | 600nm:600
| K | [24 empty] | 600nm:600
| L | [24 empty] | 600nm:600
| M | [24 empty] | 600nm:600
| N | [24 empty] | 600nm:600
| O | [24 empty] | 600nm:600
| P | [24 empty] | 600nm:600
scan:Spectrum
| Wavelength | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | A13 | A14 | A15 | A16 | A17 | A18 | A19 | A20 | A21 | A22 | A23 | A24 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | B13 | B14 | B15 | B16 | B17 | B18 | B19 | B20 | B21 | B22 | B23 | B24 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | C13 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C22 | C23 | C24 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | D13 | D14 | D15 | D16 | D17 | D18 | D19 | D20 | D21 | D22 | D23 | D24
| 300 | D1: 2.04; D2: 2.047; D3: 2.04; D4: 1.764; D5: 1.711; D6: 1.804; D7: 1.911; D8: 1.784; D9: 1.802; D10: 2.919; D11: 2.757; D12: 2.836
| 310 | D1: 2.064; D2: 2.07; D3: 2.065; D4: 1.656; D5: 1.605; D6: 1.694; D7: 1.839; D8: 1.694; D9: 1.703; D10: 2.892; D11: 2.729; D12: 2.806
| 320 | D1: 2.133; D2: 2.136; D3: 2.13; D4: 1.716; D5: 1.661; D6: 1.754; D7: 1.749; D8: 1.629; D9: 1.646; D10: 2.418; D11: 2.259; D12: 2.347
| 330 | D1: 2.248; D2: 2.248; D3: 2.244; D4: 1.861; D5: 1.798; D6: 1.898; D7: 1.638; D8: 1.563; D9: 1.597; D10: 1.925; D11: 1.798; D12: 1.873
| 340 | D1: 2.622; D2: 2.615; D3: 2.609; D4: 2.251; D5: 2.17; D6: 2.292; D7: 1.811; D8: 1.763; D9: 1.815; D10: 1.712; D11: 1.591; D12: 1.677
| 350 | D1: 3.309; D2: 3.285; D3: 3.287; D4: 2.954; D5: 2.844; D6: 3.002; D7: 2.365; D8: 2.317; D9: 2.393; D10: 1.8; D11: 1.65; D12: 1.772
| 360 | D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: 3.945; D5: 3.93; D6: OVRFLW; D7: 3.26; D8: 3.193; D9: 3.308; D10: 2.106; D11: 1.907; D12: 2.087
| 370 | D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: 2.708; D11: 2.424; D12: 2.694
| 380 | D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: 3.109; D11: 2.78; D12: 3.115
| 390 | D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: 2.953; D11: 2.645; D12: 2.935
| 400 | D1: 2.386; D2: 2.375; D3: 2.368; D4: 2.261; D5: 2.18; D6: 2.297; D7: 1.967; D8: 1.917; D9: 1.969; D10: 1.374; D11: 1.244; D12: 1.354
| 410 | D1: 1.614; D2: 1.606; D3: 1.602; D4: 1.503; D5: 1.448; D6: 1.528; D7: 1.327; D8: 1.288; D9: 1.323; D10: 1.071; D11: 0.976; D12: 1.044
| 420 | D1: 1.449; D2: 1.443; D3: 1.44; D4: 1.337; D5: 1.288; D6: 1.359; D7: 1.233; D8: 1.19; D9: 1.219; D10: 1.079; D11: 0.981; D12: 1.045
| 430 | D1: 1.442; D2: 1.437; D3: 1.434; D4: 1.318; D5: 1.27; D6: 1.34; D7: 1.272; D8: 1.221; D9: 1.247; D10: 1.168; D11: 1.058; D12: 1.126
| 440 | D1: 1.433; D2: 1.429; D3: 1.425; D4: 1.284; D5: 1.237; D6: 1.306; D7: 1.262; D8: 1.207; D9: 1.232; D10: 1.195; D11: 1.08; D12: 1.149
| 450 | D1: 1.314; D2: 1.311; D3: 1.308; D4: 1.138; D5: 1.098; D6: 1.159; D7: 1.13; D8: 1.077; D9: 1.097; D10: 1.13; D11: 1.022; D12: 1.085
| 460 | D1: 1.221; D2: 1.22; D3: 1.217; D4: 1.005; D5: 0.97; D6: 1.024; D7: 0.925; D8: 0.885; D9: 0.903; D10: 0.929; D11: 0.845; D12: 0.895
| 470 | D1: 1.114; D2: 1.115; D3: 1.114; D4: 0.851; D5: 0.825; D6: 0.871; D7: 0.683; D8: 0.658; D9: 0.674; D10: 0.69; D11: 0.634; D12: 0.667
| 480 | D1: 0.899; D2: 0.904; D3: 0.901; D4: 0.594; D5: 0.575; D6: 0.608; D7: 0.392; D8: 0.381; D9: 0.388; D10: 0.492; D11: 0.462; D12: 0.476
| 490 | D1: 0.781; D2: 0.789; D3: 0.788; D4: 0.426; D5: 0.416; D6: 0.439; D7: 0.21; D8: 0.203; D9: 0.207; D10: 0.384; D11: 0.369; D12: 0.373
| 500 | D1: 0.798; D2: 0.807; D3: 0.807; D4: 0.392; D5: 0.385; D6: 0.406; D7: 0.151; D8: 0.146; D9: 0.147; D10: 0.348; D11: 0.337; D12: 0.337
| 510 | D1: 0.877; D2: 0.888; D3: 0.887; D4: 0.408; D5: 0.401; D6: 0.423; D7: 0.132; D8: 0.126; D9: 0.127; D10: 0.334; D11: 0.323; D12: 0.323
| 520 | D1: 0.961; D2: 0.973; D3: 0.973; D4: 0.434; D5: 0.427; D6: 0.451; D7: 0.125; D8: 0.119; D9: 0.12; D10: 0.328; D11: 0.317; D12: 0.317
| 530 | D1: 1.051; D2: 1.065; D3: 1.064; D4: 0.464; D5: 0.456; D6: 0.482; D7: 0.12; D8: 0.115; D9: 0.115; D10: 0.323; D11: 0.313; D12: 0.313
| 540 | D1: 1.149; D2: 1.165; D3: 1.163; D4: 0.497; D5: 0.488; D6: 0.517; D7: 0.117; D8: 0.111; D9: 0.111; D10: 0.32; D11: 0.309; D12: 0.309
| 550 | D1: 1.226; D2: 1.242; D3: 1.242; D4: 0.522; D5: 0.514; D6: 0.544; D7: 0.114; D8: 0.108; D9: 0.107; D10: 0.316; D11: 0.306; D12: 0.306
| 560 | D1: 1.311; D2: 1.329; D3: 1.328; D4: 0.551; D5: 0.542; D6: 0.574; D7: 0.11; D8: 0.103; D9: 0.103; D10: 0.311; D11: 0.3; D12: 0.301
| 570 | D1: 1.374; D2: 1.393; D3: 1.392; D4: 0.572; D5: 0.562; D6: 0.596; D7: 0.107; D8: 0.101; D9: 0.1; D10: 0.307; D11: 0.296; D12: 0.298
| 580 | D1: 1.425; D2: 1.445; D3: 1.444; D4: 0.589; D5: 0.579; D6: 0.613; D7: 0.106; D8: 0.1; D9: 0.098; D10: 0.305; D11: 0.294; D12: 0.296
| 590 | D1: 1.449; D2: 1.469; D3: 1.468; D4: 0.596; D5: 0.586; D6: 0.621; D7: 0.105; D8: 0.098; D9: 0.097; D10: 0.303; D11: 0.291; D12: 0.294
| 600 | D1: 1.446; D2: 1.465; D3: 1.464; D4: 0.593; D5: 0.583; D6: 0.618; D7: 0.102; D8: 0.096; D9: 0.094; D10: 0.298; D11: 0.286; D12: 0.289
| 610 | D1: 1.41; D2: 1.429; D3: 1.428; D4: 0.578; D5: 0.568; D6: 0.602; D7: 0.099; D8: 0.092; D9: 0.091; D10: 0.29; D11: 0.279; D12: 0.282
| 620 | D1: 1.347; D2: 1.365; D3: 1.364; D4: 0.553; D5: 0.543; D6: 0.576; D7: 0.098; D8: 0.091; D9: 0.09; D10: 0.286; D11: 0.275; D12: 0.278
| 630 | D1: 1.257; D2: 1.273; D3: 1.272; D4: 0.516; D5: 0.508; D6: 0.538; D7: 0.099; D8: 0.092; D9: 0.09; D10: 0.286; D11: 0.275; D12: 0.279
| 640 | D1: 1.157; D2: 1.172; D3: 1.17; D4: 0.478; D5: 0.47; D6: 0.498; D7: 0.1; D8: 0.093; D9: 0.092; D10: 0.287; D11: 0.275; D12: 0.279
| 650 | D1: 1.026; D2: 1.038; D3: 1.037; D4: 0.427; D5: 0.42; D6: 0.445; D7: 0.099; D8: 0.092; D9: 0.091; D10: 0.283; D11: 0.271; D12: 0.275
| 660 | D1: 0.897; D2: 0.908; D3: 0.905; D4: 0.377; D5: 0.371; D6: 0.392; D7: 0.094; D8: 0.087; D9: 0.086; D10: 0.272; D11: 0.26; D12: 0.265
| 670 | D1: 0.744; D2: 0.753; D3: 0.752; D4: 0.318; D5: 0.314; D6: 0.331; D7: 0.087; D8: 0.082; D9: 0.081; D10: 0.258; D11: 0.248; D12: 0.252
| 680 | D1: 0.597; D2: 0.607; D3: 0.604; D4: 0.262; D5: 0.258; D6: 0.273; D7: 0.084; D8: 0.079; D9: 0.078; D10: 0.251; D11: 0.241; D12: 0.245
| 690 | D1: 0.472; D2: 0.479; D3: 0.478; D4: 0.213; D5: 0.211; D6: 0.221; D7: 0.085; D8: 0.08; D9: 0.079; D10: 0.249; D11: 0.24; D12: 0.244
| 700 | D1: 0.348; D2: 0.354; D3: 0.354; D4: 0.166; D5: 0.164; D6: 0.172; D7: 0.086; D8: 0.081; D9: 0.079; D10: 0.247; D11: 0.238; D12: 0.243
scan:Spectrum
| Wavelength | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | E13 | E14 | E15 | E16 | E17 | E18 | E19 | E20 | E21 | E22 | E23 | E24 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | F13 | F14 | F15 | F16 | F17 | F18 | F19 | F20 | F21 | F22 | F23 | F24 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | G13 | G14 | G15 | G16 | G17 | G18 | G19 | G20 | G21 | G22 | G23 | G24 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12 | H13 | H14 | H15 | H16 | H17 | H18 | H19 | H20 | H21 | H22 | H23 | H24
| 300 | E1: 2.012; E2: 2.056; E3: 1.928; E4: 1.863; E5: 1.718; E6: 1.752; E7: 1.503; E8: 1.465; E9: 1.583; E10: 2.285; E11: 2.121; E12: 2.288; F1: 1.913; F2: 1.785; F3: 1.774; F4: 1.74; F5: 1.736; F6: 1.894; F7: 1.517; F8: 1.564; F9: 1.63; F10: 1.484; F11: 1.865; F12: 1.99
| 310 | E1: 2.038; E2: 2.08; E3: 1.95; E4: 1.765; E5: 1.619; E6: 1.658; E7: 1.327; E8: 1.294; E9: 1.398; E10: 2.211; E11: 2.044; E12: 2.212; F1: 1.942; F2: 1.81; F3: 1.799; F4: 1.708; F5: 1.707; F6: 1.868; F7: 1.427; F8: 1.479; F9: 1.546; F10: 1.387; F11: 1.752; F12: 1.874
| 320 | E1: 2.005; E2: 2.05; E3: 1.92; E4: 1.754; E5: 1.608; E6: 1.646; E7: 1.321; E8: 1.29; E9: 1.396; E10: 1.988; E11: 1.828; E12: 1.988; F1: 1.971; F2: 1.837; F3: 1.825; F4: 1.742; F5: 1.738; F6: 1.903; F7: 1.47; F8: 1.521; F9: 1.588; F10: 1.407; F11: 1.77; F12: 1.888
| 330 | E1: 2.006; E2: 2.056; E3: 1.926; E4: 1.799; E5: 1.649; E6: 1.687; E7: 1.373; E8: 1.346; E9: 1.457; E10: 1.735; E11: 1.59; E12: 1.729; F1: 2.079; F2: 1.938; F3: 1.926; F4: 1.858; F5: 1.852; F6: 2.027; F7: 1.6; F8: 1.649; F9: 1.722; F10: 1.473; F11: 1.838; F12: 1.952
| 340 | E1: 2.22; E2: 2.277; E3: 2.133; E4: 2.023; E5: 1.854; E6: 1.895; E7: 1.555; E8: 1.528; E9: 1.657; E10: 1.666; E11: 1.522; E12: 1.662; F1: 2.493; F2: 2.324; F3: 2.311; F4: 2.246; F5: 2.237; F6: 2.446; F7: 1.958; F8: 2.015; F9: 2.1; F10: 1.685; F11: 2.066; F12: 2.179
| 350 | E1: 2.618; E2: 2.69; E3: 2.52; E4: 2.449; E5: 2.243; E6: 2.291; E7: 1.919; E8: 1.889; E9: 2.05; E10: 1.813; E11: 1.651; E12: 1.818; F1: 3.177; F2: 2.958; F3: 2.939; F4: 2.896; F5: 2.884; F6: 3.153; F7: 2.562; F8: 2.635; F9: 2.746; F10: 2.075; F11: 2.498; F12: 2.612
| 360 | E1: 3.233; E2: 3.305; E3: 3.096; E4: 3.1; E5: 2.851; E6: 2.913; E7: 2.508; E8: 2.471; E9: 2.681; E10: 2.145; E11: 1.95; E12: 2.167; F1: OVRFLW; F2: 3.811; F3: 3.862; F4: 3.873; F5: 3.798; F6: OVRFLW; F7: 3.46; F8: 3.531; F9: 3.668; F10: 2.672; F11: 3.159; F12: 3.274
| 370 | E1: OVRFLW; E2: OVRFLW; E3: OVRFLW; E4: OVRFLW; E5: 3.768; E6: 3.851; E7: 3.443; E8: 3.403; E9: 3.626; E10: 2.744; E11: 2.496; E12: 2.792; F1: OVRFLW; F2: OVRFLW; F3: OVRFLW; F4: OVRFLW; F5: OVRFLW; F6: OVRFLW; F7: OVRFLW; F8: OVRFLW; F9: OVRFLW; F10: 3.556; F11: OVRFLW; F12: OVRFLW
| 380 | E1: OVRFLW; E2: OVRFLW; E3: OVRFLW; E4: OVRFLW; E5: OVRFLW; E6: OVRFLW; E7: OVRFLW; E8: OVRFLW; E9: OVRFLW; E10: 3.191; E11: 2.897; E12: 3.247; F1: OVRFLW; F2: OVRFLW; F3: OVRFLW; F4: OVRFLW; F5: OVRFLW; F6: OVRFLW; F7: OVRFLW; F8: OVRFLW; F9: OVRFLW; F10: OVRFLW; F11: OVRFLW; F12: OVRFLW
| 390 | E1: OVRFLW; E2: OVRFLW; E3: 3.943; E4: OVRFLW; E5: 3.869; E6: 3.921; E7: 3.568; E8: 3.516; E9: 3.76; E10: 2.949; E11: 2.694; E12: 2.984; F1: OVRFLW; F2: OVRFLW; F3: OVRFLW; F4: OVRFLW; F5: OVRFLW; F6: OVRFLW; F7: OVRFLW; F8: OVRFLW; F9: OVRFLW; F10: 3.605; F11: OVRFLW; F12: OVRFLW
| 400 | E1: 1.627; E2: 1.668; E3: 1.565; E4: 1.607; E5: 1.482; E6: 1.51; E7: 1.343; E8: 1.321; E9: 1.431; E10: 1.263; E11: 1.138; E12: 1.261; F1: 2.123; F2: 1.981; F3: 1.97; F4: 1.993; F5: 1.981; F6: 2.154; F7: 1.834; F8: 1.875; F9: 1.946; F10: 1.479; F11: 1.751; F12: 1.807
| 410 | E1: 1.069; E2: 1.096; E3: 1.028; E4: 1.045; E5: 0.961; E6: 0.98; E7: 0.864; E8: 0.847; E9: 0.92; E10: 0.896; E11: 0.802; E12: 0.884; F1: 1.389; F2: 1.295; F3: 1.287; F4: 1.3; F5: 1.291; F6: 1.409; F7: 1.188; F8: 1.217; F9: 1.266; F10: 1.001; F11: 1.203; F12: 1.25
| 420 | E1: 0.927; E2: 0.951; E3: 0.892; E4: 0.909; E5: 0.836; E6: 0.852; E7: 0.757; E8: 0.74; E9: 0.803; E10: 0.835; E11: 0.746; E12: 0.821; F1: 1.197; F2: 1.117; F3: 1.11; F4: 1.125; F5: 1.116; F6: 1.218; F7: 1.032; F8: 1.056; F9: 1.098; F10: 0.888; F11: 1.071; F12: 1.114
| 430 | E1: 0.903; E2: 0.927; E3: 0.87; E4: 0.887; E5: 0.816; E6: 0.832; E7: 0.743; E8: 0.723; E9: 0.785; E10: 0.852; E11: 0.761; E12: 0.838; F1: 1.16; F2: 1.083; F3: 1.076; F4: 1.093; F5: 1.085; F6: 1.183; F7: 1.005; F8: 1.028; F9: 1.068; F10: 0.874; F11: 1.056; F12: 1.101
| 440 | E1: 0.889; E2: 0.912; E3: 0.856; E4: 0.865; E5: 0.795; E6: 0.811; E7: 0.719; E8: 0.698; E9: 0.757; E10: 0.844; E11: 0.753; E12: 0.832; F1: 1.124; F2: 1.049; F3: 1.042; F4: 1.056; F5: 1.048; F6: 1.143; F7: 0.968; F8: 0.99; F9: 1.029; F10: 0.849; F11: 1.029; F12: 1.075
| 450 | E1: 0.821; E2: 0.843; E3: 0.791; E4: 0.778; E5: 0.716; E6: 0.731; E7: 0.634; E8: 0.615; E9: 0.666; E10: 0.779; E11: 0.695; E12: 0.765; F1: 1.006; F2: 0.939; F3: 0.933; F4: 0.935; F5: 0.929; F6: 1.013; F7: 0.848; F8: 0.868; F9: 0.903; F10: 0.762; F11: 0.928; F12: 0.973
| 460 | E1: 0.775; E2: 0.796; E3: 0.747; E4: 0.703; E5: 0.646; E6: 0.661; E7: 0.545; E8: 0.531; E9: 0.575; E10: 0.664; E11: 0.59; E12: 0.647; F1: 0.906; F2: 0.846; F3: 0.841; F4: 0.826; F5: 0.821; F6: 0.897; F7: 0.733; F8: 0.752; F9: 0.783; F10: 0.661; F11: 0.807; F12: 0.848
| 470 | E1: 0.73; E2: 0.75; E3: 0.705; E4: 0.621; E5: 0.571; E6: 0.585; E7: 0.447; E8: 0.439; E9: 0.473; E10: 0.53; E11: 0.47; E12: 0.511; F1: 0.801; F2: 0.749; F3: 0.745; F4: 0.708; F5: 0.706; F6: 0.77; F7: 0.605; F8: 0.623; F9: 0.652; F10: 0.547; F11: 0.671; F12: 0.707
| 480 | E1: 0.635; E2: 0.652; E3: 0.613; E4: 0.478; E5: 0.437; E6: 0.452; E7: 0.289; E8: 0.287; E9: 0.308; E10: 0.386; E11: 0.34; E12: 0.363; F1: 0.619; F2: 0.579; F3: 0.576; F4: 0.508; F5: 0.509; F6: 0.557; F7: 0.396; F8: 0.414; F9: 0.434; F10: 0.387; F11: 0.482; F12: 0.512
| 490 | E1: 0.604; E2: 0.623; E3: 0.586; E4: 0.396; E5: 0.362; E6: 0.376; E7: 0.181; E8: 0.183; E9: 0.195; E10: 0.293; E11: 0.255; E12: 0.266; F1: 0.523; F2: 0.491; F3: 0.488; F4: 0.389; F5: 0.393; F6: 0.433; F7: 0.26; F8: 0.277; F9: 0.294; F10: 0.273; F11: 0.349; F12: 0.379
| 500 | E1: 0.663; E2: 0.685; E3: 0.643; E4: 0.403; E5: 0.367; E6: 0.383; E7: 0.147; E8: 0.152; E9: 0.161; E10: 0.258; E11: 0.223; E12: 0.231; F1: 0.552; F2: 0.517; F3: 0.515; F4: 0.386; F5: 0.392; F6: 0.433; F7: 0.229; F8: 0.249; F9: 0.267; F10: 0.235; F11: 0.302; F12: 0.331
| 510 | E1: 0.786; E2: 0.813; E3: 0.763; E4: 0.455; E5: 0.413; E6: 0.433; E7: 0.137; E8: 0.145; E9: 0.153; E10: 0.241; E11: 0.207; E12: 0.214; F1: 0.652; F2: 0.611; F3: 0.609; F4: 0.44; F5: 0.447; F6: 0.497; F7: 0.24; F8: 0.265; F9: 0.286; F10: 0.22; F11: 0.281; F12: 0.309
| 520 | E1: 0.923; E2: 0.955; E3: 0.897; E4: 0.52; E5: 0.471; E6: 0.494; E7: 0.135; E8: 0.147; E9: 0.154; E10: 0.231; E11: 0.199; E12: 0.204; F1: 0.772; F2: 0.724; F3: 0.721; F4: 0.51; F5: 0.52; F6: 0.58; F7: 0.264; F8: 0.295; F9: 0.319; F10: 0.213; F11: 0.269; F12: 0.297
| 530 | E1: 1.087; E2: 1.125; E3: 1.057; E4: 0.599; E5: 0.541; E6: 0.569; E7: 0.136; E8: 0.151; E9: 0.158; E10: 0.222; E11: 0.191; E12: 0.196; F1: 0.92; F2: 0.862; F3: 0.858; F4: 0.597; F5: 0.61; F6: 0.681; F7: 0.296; F8: 0.334; F9: 0.362; F10: 0.209; F11: 0.259; F12: 0.286
| 540 | E1: 1.286; E2: 1.331; E3: 1.249; E4: 0.694; E5: 0.627; E6: 0.659; E7: 0.139; E8: 0.158; E9: 0.164; E10: 0.213; E11: 0.183; E12: 0.189; F1: 1.102; F2: 1.032; F3: 1.026; F4: 0.706; F5: 0.722; F6: 0.808; F7: 0.337; F8: 0.383; F9: 0.416; F10: 0.206; F11: 0.251; F12: 0.277
| 550 | E1: 1.454; E2: 1.506; E3: 1.415; E4: 0.778; E5: 0.701; E6: 0.738; E7: 0.142; E8: 0.166; E9: 0.171; E10: 0.206; E11: 0.177; E12: 0.182; F1: 1.26; F2: 1.179; F3: 1.174; F4: 0.8; F5: 0.819; F6: 0.917; F7: 0.373; F8: 0.427; F9: 0.465; F10: 0.204; F11: 0.243; F12: 0.269
| 560 | E1: 1.657; E2: 1.717; E3: 1.612; E4: 0.877; E5: 0.789; E6: 0.832; E7: 0.147; E8: 0.174; E9: 0.18; E10: 0.198; E11: 0.17; E12: 0.175; F1: 1.451; F2: 1.357; F3: 1.352; F4: 0.915; F5: 0.938; F6: 1.05; F7: 0.418; F8: 0.481; F9: 0.525; F10: 0.203; F11: 0.237; F12: 0.262
| 570 | E1: 1.82; E2: 1.887; E3: 1.771; E4: 0.958; E5: 0.861; E6: 0.908; E7: 0.151; E8: 0.182; E9: 0.188; E10: 0.192; E11: 0.164; E12: 0.169; F1: 1.608; F2: 1.504; F3: 1.497; F4: 1.01; F5: 1.035; F6: 1.16; F7: 0.456; F8: 0.526; F9: 0.574; F10: 0.202; F11: 0.231; F12: 0.256
| 580 | E1: 1.971; E2: 2.042; E3: 1.917; E4: 1.032; E5: 0.927; E6: 0.978; E7: 0.155; E8: 0.189; E9: 0.195; E10: 0.186; E11: 0.159; E12: 0.164; F1: 1.755; F2: 1.641; F3: 1.634; F4: 1.098; F5: 1.126; F6: 1.263; F7: 0.491; F8: 0.567; F9: 0.62; F10: 0.201; F11: 0.225; F12: 0.249
| 590 | E1: 2.066; E2: 2.14; E3: 2.008; E4: 1.078; E5: 0.968; E6: 1.022; E7: 0.157; E8: 0.193; E9: 0.199; E10: 0.18; E11: 0.155; E12: 0.16; F1: 1.851; F2: 1.731; F3: 1.724; F4: 1.157; F5: 1.186; F6: 1.33; F7: 0.514; F8: 0.595; F9: 0.651; F10: 0.199; F11: 0.22; F12: 0.244
| 600 | E1: 2.108; E2: 2.184; E3: 2.048; E4: 1.098; E5: 0.986; E6: 1.041; E7: 0.157; E8: 0.194; E9: 0.2; E10: 0.175; E11: 0.15; E12: 0.155; F1: 1.9; F2: 1.776; F3: 1.768; F4: 1.185; F5: 1.215; F6: 1.363; F7: 0.526; F8: 0.609; F9: 0.666; F10: 0.197; F11: 0.215; F12: 0.239
| 610 | E1: 2.095; E2: 2.168; E3: 2.034; E4: 1.089; E5: 0.978; E6: 1.033; E7: 0.155; E8: 0.192; E9: 0.198; E10: 0.168; E11: 0.144; E12: 0.149; F1: 1.897; F2: 1.773; F3: 1.765; F4: 1.182; F5: 1.213; F6: 1.361; F7: 0.525; F8: 0.607; F9: 0.664; F10: 0.193; F11: 0.209; F12: 0.233
| 620 | E1: 2.028; E2: 2.098; E3: 1.967; E4: 1.054; E5: 0.946; E6: 0.999; E7: 0.15; E8: 0.186; E9: 0.192; E10: 0.164; E11: 0.14; E12: 0.145; F1: 1.844; F2: 1.723; F3: 1.714; F4: 1.149; F5: 1.179; F6: 1.322; F7: 0.511; F8: 0.591; F9: 0.647; F10: 0.189; F11: 0.204; F12: 0.228
| 630 | E1: 1.907; E2: 1.972; E3: 1.848; E4: 0.991; E5: 0.89; E6: 0.939; E7: 0.143; E8: 0.177; E9: 0.183; E10: 0.16; E11: 0.137; E12: 0.142; F1: 1.74; F2: 1.626; F3: 1.619; F4: 1.085; F5: 1.113; F6: 1.248; F7: 0.485; F8: 0.56; F9: 0.613; F10: 0.182; F11: 0.199; F12: 0.222
| 640 | E1: 1.764; E2: 1.826; E3: 1.709; E4: 0.918; E5: 0.826; E6: 0.87; E7: 0.136; E8: 0.167; E9: 0.172; E10: 0.158; E11: 0.135; E12: 0.14; F1: 1.617; F2: 1.511; F3: 1.502; F4: 1.008; F5: 1.034; F6: 1.16; F7: 0.453; F8: 0.523; F9: 0.572; F10: 0.176; F11: 0.194; F12: 0.216
| 650 | E1: 1.57; E2: 1.622; E3: 1.52; E4: 0.818; E5: 0.736; E6: 0.776; E7: 0.126; E8: 0.153; E9: 0.158; E10: 0.153; E11: 0.132; E12: 0.137; F1: 1.443; F2: 1.347; F3: 1.34; F4: 0.901; F5: 0.924; F6: 1.036; F7: 0.408; F8: 0.47; F9: 0.514; F10: 0.168; F11: 0.188; F12: 0.21
| 660 | E1: 1.375; E2: 1.417; E3: 1.329; E4: 0.718; E5: 0.646; E6: 0.681; E7: 0.115; E8: 0.139; E9: 0.144; E10: 0.147; E11: 0.126; E12: 0.131; F1: 1.264; F2: 1.182; F3: 1.174; F4: 0.792; F5: 0.812; F6: 0.91; F7: 0.362; F8: 0.416; F9: 0.455; F10: 0.16; F11: 0.181; F12: 0.203
| 670 | E1: 1.14; E2: 1.175; E3: 1.102; E4: 0.599; E5: 0.539; E6: 0.569; E7: 0.103; E8: 0.122; E9: 0.127; E10: 0.14; E11: 0.12; E12: 0.124; F1: 1.052; F2: 0.982; F3: 0.977; F4: 0.662; F5: 0.678; F6: 0.758; F7: 0.307; F8: 0.352; F9: 0.384; F10: 0.151; F11: 0.174; F12: 0.196
| 680 | E1: 0.917; E2: 0.944; E3: 0.883; E4: 0.483; E5: 0.436; E6: 0.46; E7: 0.091; E8: 0.106; E9: 0.11; E10: 0.135; E11: 0.116; E12: 0.12; F1: 0.844; F2: 0.79; F3: 0.786; F4: 0.536; F5: 0.547; F6: 0.613; F7: 0.253; F8: 0.289; F9: 0.315; F10: 0.143; F11: 0.169; F12: 0.191
| 690 | E1: 0.718; E2: 0.739; E3: 0.693; E4: 0.384; E5: 0.347; E6: 0.366; E7: 0.081; E8: 0.092; E9: 0.096; E10: 0.133; E11: 0.114; E12: 0.119; F1: 0.665; F2: 0.623; F3: 0.619; F4: 0.425; F5: 0.434; F6: 0.484; F7: 0.207; F8: 0.234; F9: 0.254; F10: 0.137; F11: 0.166; F12: 0.188
| 700 | E1: 0.526; E2: 0.541; E3: 0.507; E4: 0.287; E5: 0.261; E6: 0.274; E7: 0.072; E8: 0.078; E9: 0.082; E10: 0.131; E11: 0.113; E12: 0.117; F1: 0.488; F2: 0.458; F3: 0.455; F4: 0.317; F5: 0.323; F6: 0.36; F7: 0.161; F8: 0.18; F9: 0.195; F10: 0.131; F11: 0.162; F12: 0.184
scan:Spectrum
| Wavelength | I1 | I2 | I3 | I4 | I5 | I6 | I7 | I8 | I9 | I10 | I11 | I12 | I13 | I14 | I15 | I16 | I17 | I18 | I19 | I20 | I21 | I22 | I23 | I24 | J1 | J2 | J3 | J4 | J5 | J6 | J7 | J8 | J9 | J10 | J11 | J12 | J13 | J14 | J15 | J16 | J17 | J18 | J19 | J20 | J21 | J22 | J23 | J24 | K1 | K2 | K3 | K4 | K5 | K6 | K7 | K8 | K9 | K10 | K11 | K12 | K13 | K14 | K15 | K16 | K17 | K18 | K19 | K20 | K21 | K22 | K23 | K24 | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | L9 | L10 | L11 | L12 | L13 | L14 | L15 | L16 | L17 | L18 | L19 | L20 | L21 | L22 | L23 | L24
300
310
320
330
340
350
360
370
380
390
400
410
420
430
440
450
460
470
480
490
500
510
520
530
540
550
560
570
580
590
600
610
620
630
640
650
660
670
680
690
700
scan:Spectrum
| Wavelength | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12 | M13 | M14 | M15 | M16 | M17 | M18 | M19 | M20 | M21 | M22 | M23 | M24 | N1 | N2 | N3 | N4 | N5 | N6 | N7 | N8 | N9 | N10 | N11 | N12 | N13 | N14 | N15 | N16 | N17 | N18 | N19 | N20 | N21 | N22 | N23 | N24 | O1 | O2 | O3 | O4 | O5 | O6 | O7 | O8 | O9 | O10 | O11 | O12 | O13 | O14 | O15 | O16 | O17 | O18 | O19 | O20 | O21 | O22 | O23 | O24 | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P20 | P21 | P22 | P23 | P24
300
310
320
330
340
350
360
370
380
390
400
410
420
430
440
450
460
470
480
490
500
510
520
530
540
550
560
570
580
590
600
610
620
630
640
650
660
670
680
690
700
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| B | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| C | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| D | 3.309 | 3.285 | 3.287 | 3.945 | 3.93 | 3.002 | 3.26 | 3.193 | 3.308 | 3.109 | 2.78 | 3.115 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| E | 3.233 | 3.305 | 3.943 | 3.1 | 3.869 | 3.921 | 3.568 | 3.516 | 3.76 | 3.191 | 2.897 | 3.247 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| F | 3.177 | 3.811 | 3.862 | 3.873 | 3.798 | 3.153 | 3.46 | 3.531 | 3.668 | 3.605 | 3.159 | 3.274 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| G | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| H | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| I | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| J | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| K | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| L | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| M | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| N | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| O | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]
| P | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max OD [scan:Spectrum]